## Cable Pinout Sheet
DISCLAIMER: All information provided is based upon the last known working configuration for the instrument(s) listed. All content is subject to change without notification. Due to the dynamic nature of third party system specifications, Data Innovations makes no guarantee or claim regarding the accuracy of information and specifications provided in this document. Data Innovations will work with customers and vendors to maintain up to date information.
Cable Pin-out Sheet for Customers: Cables highlighted in yellow have not been verified, but is what we have been sending. Once verified the highlight will be removed.
Manufacturer | Instrument | TCP/IP (Either states "yes" or "ONLY". If analyzer is not TCP/IP capable, column will be blank) | Lantronix UDS1000 & UDS1100 & EDS1100 | Lantronix MSS4, DIGI & Lenovo | Lantronix ETS 8P/16P/32P & EDS 8P/16P/32P | Equinox 4/8 port Fanout, Lantronix MSS100 | Equinox 8/16 Port Platter (DB25) | Equinox RJ45 Platter
NULL MODEM CABLE |  |  | P3 | P4 | PP | P1 | P2 | PPP
Abaxis | Piccolo (serial connection) | Yes | P3 | P4 | PP | P1 | P2 | PPP
Abbott | Alinity M | ONLY
Abbott | APS |  | C3 | C4 | CC | C1 | C2 | CCC
|  |  | P3 | P4 | PP | P1 | P2 | PPP
Abbott | Architect |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Abbott | AxSYM |  | E3 | E4 | EE | E1 | E2 | EEE
Abbott | c16000, c8000, c4000, i2000SR, i2000, i1000, ci16200, ci8200, ci4100, i4000 |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Abbott | Cell-Dyn 1700 |  | P3 | P4 | PP | P1 | P2 | PPP
Abbott | Cell-Dyn 1700CS |  | P3 | P4 | PP | P1 | P2 | PPP
Abbott | Cell-Dyn 1800 |  | P3 | P4 | PP | P1 | P2 | PPP
Abbott | Cell-Dyn 3200 |  | P3 | P4 | PP | P1 | P2 | PPP
Abbott | Cell-Dyn 3500 |  | P3 | P4 | PP | P1 | P2 | PPP
Abbott | Cell-Dyn 3700 |  | P3 | P4 | PP | P1 | P2 | PPP
Abbott | Cell-Dyn Emerald |  | J3 | J4 | JJ | J1 | J2 | JJJ
|  |  | I3 | I4 | II | I1 | I2 | III
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Abbott | Cell-Dyn Ruby |  | N3 | N4 | NN | N1 | N2 | NNN
Abbott | Cell-Dyn Sapphire | Yes | N3 | N4 | NN | N1 | N2 | NNN
Abbott | Cell-Dyn Slide Maker Stainer (SMS) |  | N3 | N4 | NN | N1 | N2 | NNN
Abbott | CP3000 |  | P3 | P4 | PP | P1 | P2 | PPP
Abbott | i2000 |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Abbott | iSTAT Central Data Station |  | N3 | N4 | NN | N1 | N2 | NNN
Abbott | IMx |  | C3 | C4 | CC | C1 | C2 | CCC
Abbott | m2000 |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Abbott | Prism |  | E3 | E4 | EE | E1 | E2 | EEE
Abbott | TDX Flx |  | E3 | E4 | EE | E1 | E2 | EEE
ABX | Micros 60 |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | J3 | J4 | JJ | J1 | J2 | JJJ
ABX | ABX Pentra 120 in ABX Mode |  | N3 | N4 | NN | N1 | N2 | NNN
ABX | ABX Pentra 60 in ABX Mode |  | N3 | N4 | NN | N1 | N2 | NNN
ABX | ABX Pentra 80 in ABX Mode |  | N3 | N4 | NN | N1 | N2 | NNN
ABX | ABX Pentra 400 |  | J3 | J4 | JJ | J1 | J2 | JJJ
AB Sciex | LIMS Compatibilty (Cliquid, Multi-Quant) | ONLY
Accumetrics | VerifyNow | Yes | M3 | M4 | MM | M1 | M2 | MMM
Accustrip | URS |  | N3 | N4 | NN | N1 | N2 | NNN
Advanced Instruments | 2020 |  | P3 | P4 | PP | P1 | P2 | PPP
Advanced Instruments | Osmometer 3300 | Yes | P3 | P4 | PP | P1 | P2 | PPP
Agilent | Chemstation | Yes
AIM | Pathfinder | Yes
Alcor | iSED |  | N3 | N4 | NN | N1 | N2 | NNN
Alfa Wassermann | Ace Axcel |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Alfa Wassermann | Shipparelli ACE |  | O3 | O4 | OO | O1 | O2 | OOO
Alfa Wasserman | Vet Axce |  | R3 | R4 | RR | R1 | R2 | RRR
Ali Fax | Alfred 60 |  | O3 | O4 | OO | O1 | O2 | OOO
|  |  | P3 | P4 | PP | P1 | P2 | PPP
Ali Fax | Roller 10, 10PN, 20PN, R20MC |  | M3 | M4 | MM | M1 | M2 | MMM
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Ali Fax | Roller 20 |  | C3 | C4 | CC | C1 | C2 | CCC
|  |  | G3 | G4 | GG | G1 | G2 | GGG
Arkray | AE-4022 |  | P3 | P4 | PP | P1 | P2 | PPP
Arkray | AE-4022 |  | L3 | L4 | LL | L1 | L2 | LLL
Arkray | AU-4050 |  | L3 | L4 | LL | L1 | L2 | LLL
Arkray | AX-4030 |  | N3 | N4 | NN | N1 | N2 | NNN
Arkray | AX-4050 |  | N3 | N4 | NN | N1 | N2 | NNN
Arkray | HA-8180 |  | N3 | N4 | NN | N1 | N2 | NNN
Axis Shield | Afinion |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | L3 | L4 | LL | L1 | L2 | LLL
Beckman | Access II |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | ACL 100 |  | C3 | C4 | CC | C1 | C2 | CCC
|  |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | ACL 1000 |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | ACL 10000 |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | ACL 300 |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | ACL 3000 |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | ACL 6000 |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | C3 | C4 | CC | C1 | C2 | CCC
Beckman | ACL 7000 |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | C3 | C4 | CC | C1 | C2 | CCC
Beckman | ACL 8000 |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | ACL 9000 |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | ACL Elite |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | ACL Elite Pro |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | ACL Futura |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | ACL TOP 300 | Yes | P3 | P4 | PP | P1 | P2 | PPP
Beckman | ACL TOP 500 CTS | Yes | P3 | P4 | PP | P1 | P2 | PPP
Beckman | ACT 10 |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | ACT DIFF II |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | ACT5 Diff ASTM |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | ACT5 Diff, (CP or AL) |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | Advance |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | AU Series |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | AU2700 |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | AU400 |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | AU480 |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Beckman | AU5400 |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | AU5800 |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Beckman | AU640 |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | AU680 |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | Cennexus | Yes | P3 | P4 | PP | P1 | P2 | PPP
|  |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | Automate 800 |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | M3 | M4 | MM | M1 | M2 | MMM
Beckman | CX3 Delta |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | CX5CE |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | CX7 |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | CX9 |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | Datalink |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | Preplink |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | DxC 600i (Maximum 40' Length) |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | DxC 700 AU |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Beckman | DxH 600/800 |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | DxH 1601 |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | DXi 600/800 |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | FC-500 | ONLY
Beckman | GEN-S Workstation |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | HMX |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | HMX in 2A Mode |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | Immage 800 |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | LH Workstation |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | LH-500 |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | LH-750 |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | LH-780 |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | LX20 |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | LX4201 |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | MAXM in 2A Mode |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | MAXM1G1 |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | Microscan |  | G3 | G4 | GG | G1 | G2 | GGG
|  |  | P3 | P4 | PP | P1 | P2 | PPP
Beckman | PK7200 *REQUIRES 4-5 Jumper* |  | E3* | E4* | EE* | E1* | E2* | EEE*
Beckman | PK7300 |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Beckman | Remisol 2000 | Yes | N3 | N4 | NN | N1 | N2 | NNN
Beckman | Remisol Advance |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | Sanofi Access |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | STKS |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | STKS in 2A Mode |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | Synchron CX4CE |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | Unicell DxC 800 |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | G3 | G4 | GG | G1 | G2 | GGG
Beckman | Unicell DxH SMS |  | N3 | N4 | NN | N1 | N2 | NNN
Beckman | Yellow Iris ASTM |  | I3 M3 | I4 M4 | II MM | I1 M1 | I2 M2 | III MMM
Becton Dickinson | BACTEC 9000 |  | N3 | N4 | NN | N1 | N2 | NNN
Becton Dickinson | SPA Plus |  | N3 | N4 | NN | N1 | N2 | NNN
Becton Dickinson | BACTEC 9120 |  | N3 | N4 | NN | N1 | N2 | NNN
Becton Dickinson | BACTEC 9240 |  | N3 | N4 | NN | N1 | N2 | NNN
Becton Dickinson | EpiCenter |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | M3 | M4 | MM | M1 | M2 | MMM
Becton Dickinson | FACSCalibur | ONLY
Becton Dickinson | FACSCanto | ONLY
Becton Dickinson | FX |  | N3 | N4 | NN | N1 | N2 | NNN
Becton Dickinson | MAX |  | N3 | N4 | NN | N1 | N2 | NNN
Becton Dickinson | Probetec Viper |  | P3 | P4 | PP | P1 | P2 | PPP
Benetch | PRA HL7 | Yes
Binding Site | Optilite |  | J3 | J4 | JJ | J1 | J2 | JJJ
|  |  | N3 | N4 | NN | N1 | N2 | NNN
bioMerieux | BacT Alert |  | P3 | P4 | PP | P1 | P2 | PPP
bioMerieux | BacT Alert 3D |  | P3 | P4 | PP | P1 | P2 | PPP
bioMerieux | BacT View |  | P3 | P4 | PP | P1 | P2 | PPP
bioMerieux | Observa |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | G3 | G4 | GG | G1 | G2 | GGG
bioMerieux | Mini Vidas |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | M3 | M4 | MM | M1 | M2 | MMM
bioMerieux | MYLA | Yes
bioMerieux | Previ-Isola |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | G3 | G4 | GG | G1 | G2 | GGG
bioMerieux | Vidas |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | G3 | G4 | GG | G1 | G2 | GGG
bioMerieux | Vidas 3 |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | G3 | G4 | GG | G1 | G2 | GGG
bioMerieux | VidasLiteral |  | N3 | N4 | NN | N1 | N2 | NNN
bioMerieux | Vitek / Vitek 2 |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | G3 | G4 | GG | G1 | G2 | GGG
bioMerieux | Vitek Literal |  | G3 | G4 | GG | G1 | G2 | GGG
Bio-Fire | FilmArray | Yes
Bio-Rad Laboratories | BioPlex 2200 |  | N3 | N4 | NN | N1 | N2 | NNN
Bio-Rad Laboratories | Evolis |  | N3 | N4 | NN | N1 | N2 | NNN
Bio-Rad Laboratories | DiaSTAT |  | N3 | N4 | NN | N1 | N2 | NNN
Bio-Rad Laboratories | D-10 |  | P3 | P4 | PP | P1 | P2 | PPP
Bio-Rad Laboratories | D-100 |  | P3 | P4 | PP | P1 | P2 | PPP
Bio-Rad Laboratories | IH1000 |  | N3 | N4 | NN | N1 | N2 | NNN
Bio-Rad Laboratories | PhD |  | P3 | P4 | PP | P1 | P2 | PPP
Bio-Rad Laboratories | Tango Optimo |  | N3 | N4 | NN | N1 | N2 | NNN
Bio-Rad Laboratories | Variant II -DB9 model (Turbo) |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | P3 | P4 | PP | P1 | P2 | PPP
Bio-Rad Laboratories | Variant II -RJ45 RocketPort Model (Turbo) |  | Special 3 | Special 4 | Special 5 | Special 1 | Special 2 | Special 6
Bio-Rad Laboratories | Variant Classic |  | E3 | E4 | EE | E1 | E2 | EEE
Biosite | Triage Meter |  | I3 | I4 | II | I1 | I2 | III
|  |  | M3 | M4 | MM | M1 | M2 | MMM
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Boule / Boule Medonic | CA620 |  | O3 | O4 | OO | O1 | O2 | OOO
Boule / Boule Medonic | Medonic M |  | P3 | P4 | PP | P1 | P2 | PPP
Cellavision | DM |  | P3 | P4 | PP | P1 | P2 | PPP
Cepheid | GenXpert Series | ONLY
Clarity | Urocheck 120 |  | N3 | N4 | NN | N1 | N2 | NNN
Cole-Taylor | CT-120 Urine Analyzer |  | N3 | N4 | NN | N1 | N2 | NNN
Copan | Wasp |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Data Innovations Supplied | Light Pole |  | M3 | M4 | MM | M1 | M2 | MMM
Diagnostica Stago | Compact Max |  | N3 | N4 | NN | N1 | N2 | NNN
Diagnostica Stago | Expert Data Manager | ONLY
Diagnostica Stago | STart |  | R3 | R4 | RR | R1 | R2 | RRR
Diagnostica Stago | STart 4 |  | R3 | R4 | RR | R1 | R2 | RRR
Diagnostica Stago | STA-R Evolution |  | N3 | N4 | NN | N1 | N2 | NNN
Diagnostica Stago | StaR Max |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Diagnostica Stago | STA (STAGO) |  | R3 | R4 | RR | R1 | R2 | RRR
Diagnostica Stago | STA Compact |  | R3 | R4 | RR | R1 | R2 | RRR
Diagnostica Stago | STA Satellite |  | N3 | N4 | NN | N1 | N2 | NNN
DiaMedix | Mago Plus/Aptus |  | P3 | P4 | PP | P1 | P2 | PPP
DiaSorin | Liason |  | M3 | M4 | MM | M1 | M2 | MMM
DiaSorin | Liason XL |  | N3 | N4 | NN | N1 | N2 | NNN
Diatron | Abacus |  | N3 | N4 | NN | N1 | N2 | NNN
Difco | ESP Blood System II |  | J3 | J4 | JJ | J1 | J2 | JJJ
Dynex | DS2 |  | P3 | P4 | PP | P1 | P2 | PPP
Dynex | DSX | Yes | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
ELITech | InGenius |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Focus | Integrated Cycler | Yes
GenMark | ePlex |  | N3 | N4 | NN | N1 | N2 | NNN
Gen Probe | Leader 50/450/450I |  | G3 | G4 | GG | G1 | G2 | GGG
Gen Probe | Panther |  | P3 | P4 | PP | P1 | P2 | PPP
Gen Probe Hologic | Panther Plus |  | P3 | P4 | PP | P1 | P2 | PPP
Gen Probe | Tigris |  | N3 | N4 | NN | N1 | N2 | NNN
Germaine Laboratories | Aimstrip |  | N3 | N4 | NN | N1 | N2 | NNN
Giles Scientific, Inc. | Biomic System |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | J3 | J4 | JJ | J1 | J2 | JJJ
|  |  | A3 | A4 | AA | A1 | A2 | AAA
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Gold Star | AIX1000 |  | P3 | P4 | PP | P1 | P2 | PPP
Grifols | DG Reader |  | N3 | N4 | NN | N1 | N2 | NNN
Grifols | Erytra |  | N3 | N4 | NN | N1 | N2 | NNN
Grifols | Triturus |  | P3 | P4 | PP | P1 | P2 | PPP
Grifols | WADiana |  | N3 | N4 | NN | N1 | N2 | NNN
Haemoscope | TEG 5000 | Yes
Helena | AggRAM |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | J3 | J4 | JJ | J1 | J2 | JJJ
Helena | Quickscan 2000 |  | N3 | N4 | NN | N1 | N2 | NNN
Helena | Spife 4000 |  | N3 | N4 | NN | N1 | N2 | NNN
Helena | Spife Tech REP 3 |  | N3 | N4 | NN | N1 | N2 | NNN
IDS | iSYS |  | P3 | P4 | PP | P1 | P2 | PPP
Immucor | Galileo | Yes | I3 | I4 | II | I1 | I2 | III
Immucor | Galileo Echo | Yes | P3 | P4 | PP | P1 | P2 | PPP
Immucor | Immulink |  | J3 | J4 | JJ | J1 | J2 | JJJ
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Immucor | NEO | Yes | N3 | N4 | NN | N1 | N2 | NNN
INOVA Diagnostics | Bio-Flash |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | L3 | L4 | LL | L1 | L2 | LLL
|  |  | C3 | C4 | CC | C1 | C2 | CCC
|  |  | G3 | G4 | GG | G1 | G2 | GGG
INOVA Diagnostics | Quanta Lyzer 240 | Yes
Instrumentation Laboratory | ACL 100 |  | C3 | C4 | CC | C1 | C2 | CCC
Instrumentation Laboratory | ACL 1000 |  | C3 | C4 | CC | C1 | C2 | CCC
Instrumentation Laboratory | ACL 200 |  | C3 | C4 | CC | C1 | C2 | CCC
Instrumentation Laboratory | ACL 2000 |  | C3 | C4 | CC | C1 | C2 | CCC
Instrumentation Laboratory | ACL 300 |  | C3 | C4 | CC | C1 | C2 | CCC
Instrumentation Laboratory | ACL 3000 |  | C3 | C4 | CC | C1 | C2 | CCC
Instrumentation Laboratory | ACL 6000 |  | G3 | G4 | GG | G1 | G2 | GGG
Instrumentation Laboratory | ACL 7000 |  | G3 | G4 | GG | G1 | G2 | GGG
Instrumentation Laboratory | GEM 3000/3500 |  | N3 | N4 | NN | N1 | N2 | NNN
Instrumentation Laboratory | GEM 4000 | Yes | P3 | P4 | PP | P1 | P2 | PPP
Instrumentation Laboratory | IMPACT |  | P3 | P4 | PP | P1 | P2 | PPP
Instrumentation Laboratory | MLA Electra 1400C ASTM |  | N3 | N4 | NN | N1 | N2 | NNN
Instrumentation Laboratory | MLA Electra 1600C ASTM |  | N3 | N4 | NN | N1 | N2 | NNN
Instrumentation Laboratory | MLA Electra 1800 ASTM |  | N3 | N4 | NN | N1 | N2 | NNN
IRIS | 900UDx(Simple Handshake) |  | F3 | F4 | FF | F1 | F2 | FFF
IRIS | iChem/ iChem 100 |  | I3 | I4 | II | I1 | I2 | III
IRIS | iChem Velocity |  | P3 | P4 | PP | P1 | P2 | PPP
IRIS | iQ 200 |  | P3 | P4 | PP | P1 | P2 | PPP
IRIS | iQ 200 Elite |  | P3 | P4 | PP | P1 | P2 | PPP
IRIS | iRICELL 200 or 1500 or 2000 |  | M3 | M4 | MM | M1 | M2 | MMM
|  |  | N3 | N4 | NN | N1 | N2 | NNN
ITC | Hemochron Signature Elite |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Lumipulse | G1200 |  | L3 P3 | L4 P4 | LL PP | L1 P1 | L2 P2 | LLL PPP
Mallinckrodt Sensory Systems, Inc | Gem Premier |  | N3 | N4 | NN | N1 | N2 | NNN
Mechatronics | Interliner |  | M3 | M4 | MM | M1 | M2 | MMM
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Mechatronics | Starrsed ST |  | K3 | K4 | KK | K1 | K2 | KKK
Medica | EasyRa |  | P3 | P4 | PP | P1 | P2 | PPP
Medical Electronic Systems | SQA-V |  | R3 | R4 | RR | R1 | R2 | RRR
MedTox | Reader | ONLY
Menarini | HA-8160 |  | C3 | C4 | CC | C1 | C2 | CCC
Microgenics | MGC 240 |  | N3 | N4 | NN | N1 | N2 | NNN
Mitsubishi | Pathfast |  | A3 | A4 | AA | A1 | A2 | AAA
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Modulus Data Systems | Diff Counter |  | E3 | E4 | EE | E1 | E2 | EEE
Nanosphere, Inc. | Verigene | ONLY
Nova Biomedical | CRT 8-1 |  | C3 | C4 | CC | C1 | C2 | CCC
|  |  | G3 | G4 | GG | G1 | G2 | GGG
Nova Biomedical | Critical Care Xpress (CCX) |  | P3 | P4 | PP | P1 | P2 | PPP
Nova Biomedical | Phox |  | P3 | P4 | PP | P1 | P2 | PPP
Ortho-Clinical Diagnostics | ProVue |  | M3 | M4 | MM | M1 | M2 | MMM
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Ortho-Clinical Diagnostics | VISION | Yes | N3 | N4 | NN | N1 | N2 | NNN
Ortho-Clinical Diagnostics | VITROS |  | C3 | C4 | CC | C1 | C2 | CCC
Ortho-Clinical Diagnostics | VITROS 3600 | Yes | C3 | C4 | CC | C1 | C2 | CCC
Ortho-Clinical Diagnostics | VITROS 5600 | Yes | C3 | C4 | CC | C1 | C2 | CCC
Ortho-Clinical Diagnostics | VITROS 5.1 FS |  | C3 | C4 | CC | C1 | C2 | CCC
Ortho-Clinical Diagnostics | VITROS ECi & Immuno-diagnostic (ASTM) |  | C3 | C4 | CC | C1 | C2 | CCC
Otsuka Electronics Co., Ltd. | POCOne |  | P3 | P4 | PP | P1 | P2 | PPP
Perkin Elmer | ELAN |  | P3 | P4 | PP | P1 | P2 | PPP
PolyMedCo | OC-Automicro80 |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
PolyMedCo | OC Diana |  | N3 | N4 | NN | N1 | N2 | NNN
PolyMedCo | Sedimat 15 |  | N3 | N4 | NN | N1 | N2 | NNN
PVT | RSD |  | P3 | P4 | PP | P1 | P2 | PPP
Quidel | Sofia | Yes
Radiometer America | ABL 80 | Yes | P3 | P4 | PP | P1 | P2 | PPP
Radiometer America | ABL 90 | Yes | P3 | P4 | PP | P1 | P2 | PPP
Radiometer America | ABL 500 Series |  | P3 | P4 | PP | P1 | P2 | PPP
Radiometer America | ABL 600 Series |  | P3 | P4 | PP | P1 | P2 | PPP
Radiometer America | ABL 700 Series |  | P3 | P4 | PP | P1 | P2 | PPP
Radiometer America | ABL 800 Series |  | P3 | P4 | PP | P1 | P2 | PPP
Radiometer America | ABL 835 | Yes
Radiometer America | EML |  | P3 | P4 | PP | P1 | P2 | PPP
Radiometer America | CLINIFILE |  | P3 | P4 | PP | P1 | P2 | PPP
Radiometer America | NPT7 |  | M3 | M4 | MM | M1 | M2 | MMM
Radiometer America | Radiance | ONLY
Randox | Daytona |  | P3 | P4 | PP | P1 | P2 | PPP
Randox | Evidence |  | P3 | P4 | PP | P1 | P2 | PPP
Roche Diagnostics | Amplilink |  | N3 | N4 | NN | N1 | N2 | NNN
Roche Diagnostics | Ampliprep |  | P3 | P4 | PP | P1 | P2 | PPP
Roche Diagnostics | Cardiac Reader |  | P3 | P4 | PP | P1 | P2 | PPP
Roche Diagnostics | Chemstrip 101 Urine Analyzer |  | N3 | N4 | NN | N1 | N2 | NNN
Roche Diagnostics | Chemstrip Criterion |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | J3 | J4 | JJ | J1 | J2 | JJJ
Roche Diagnostics | Chemstrip Criterion II |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Roche Diagnostics | Chemstrip UA/Miditron |  | R3 | R4 | RR | R1 | R2 | RRR
Roche Diagnostics | Cobas b221 | YES
Roche Diagnostics | Cobas c111 |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Roche Diagnostics | Cobas c311 |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Roche Diagnostics | Cobas u411 |  | N3 | N4 | NN | N1 | N2 | NNN
Roche Diagnostics | Cobas 4800 | ONLY
Roche Diagnostics | Cobas 6000 |  | P3 | P4 | PP | P1 | P2 | PPP
Roche Diagnostics | Cobas 6800/8800 | YES | P3 | P4 | PP | P1 | P2 | PPP
Roche Diagnostics | Cobas 802 X2 |  | N3 | N4 | NN | N1 | N2 | NNN
Roche Diagnostics | Cobas Integra (Unix and Windows) |  | N3 | N4 | NN | N1 | N2 | NNN
Roche Diagnostics | E170 |  | P3 | P4 | PP | P1 | P2 | PPP
Roche Diagnostics | E411 |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Roche Diagnostics | Elecsys (2010) Ring System |  | P3 | P4 | PP | P1 | P2 | PPP
Roche Diagnostics | Hitachi 911 / 912 |  | Special 3 | Special 4 | Special 5 | Special 1 | Special 2 | Special 6
Roche Diagnostics | Hitachi 800 |  | N3 | N4 | NN | N1 | N2 | NNN
Roche Diagnostics | Hitachi 917 |  | N3 | N4 | NN | N1 | N2 | NNN
Roche Diagnostics | Light Cycler 2.0 | ONLY
Roche Diagnostics | MODULAR Analytics |  | P3 | P4 | PP | P1 | P2 | PPP
Roche Diagnostics | Omni (models 1 - 6) |  | J3 | J4 | JJ | J1 | J2 | JJJ
Roche Diagnostics | Omnilink |  | J3 | J4 | JJ | J1 | J2 | JJJ
Roche Diagnostics | Opti Critical Care Analyzer ***MAX 40' CABLE*** |  | J3 | J4 | JJ | J1 | J2 | JJJ
|  |  | I3 | I4 | II | I1 | I2 | III
Roche Diagnostics | Opti-1 |  | L3 | L4 | LL | L1 | L2 | LLL
|  |  | P3 | P4 | PP | P1 | P2 | PPP
Roche Diagnostics | PAM (MCV3) |  | R3 | R4 | RR | R1 | R2 | RRR
Roche Diagnostics | PSD |  | N3 | N4 | NN | N1 | N2 | NNN
Roche Diagnostics | Roche Urilux S |  | N3 | N4 | NN | N1 | N2 | NNN
Roche Diagnostics | STart |  | R3 | R4 | RR | R1 | R2 | RRR
Roche Diagnostics | STart 4 |  | R3 | R4 | RR | R1 | R2 | RRR
Roche Diagnostics | Taqman 48 |  | N3 | N4 | NN | N1 | N2 | NNN
Roche Diagnostics | Taqman 96 |  | N3 | N4 | NN | N1 | N2 | NNN
Roche Diagnostics | Urisys 1100 |  | J3 | J4 | JJ | J1 | J2 | JJJ
|  |  | I3 | I4 | II | I1 | I2 | III
|  |  | Special 3 | Special 4 | Special 5 | Special 1 | Special 2 | Special 6
Roche Diagnostics | Urisys 1800 (Male) |  | L3 | L4 | LL | L1 | L2 | LLL
|  |  | P3 | P4 | PP | P1 | P2 | PPP
Roche Diagnostics | Urisys 2400 |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Roche Diagnostics | VSII |  | N3 | N4 | NN | N1 | N2 | NNN
Schiapparelli Biosystems | ACE Analyzer |  | P3 | P4 | PP | P1 | P2 | PPP
Sebia | Capillarys |  | P3 | P4 | PP | P1 | P2 | PPP
Sebia | HYRS2 |  | P3 | P4 | PP | P1 | P2 | PPP
Sebia | MiniCAP |  | J3 | J4 | JJ | J1 | J2 | JJJ
|  |  | I3 | I4 | II | I1 | I2 | III
Sebia | Phoresis |  | P3 | P4 | PP | P1 | P2 | PPP
Shimadzu Scientific Instruments | Maldi-Tof | Yes
Siemens Diagnostics | Advia 120 |  | R3 | R4 | RR | R1 | R2 | RRR
Siemens Diagnostics | Advia 1200 |  | P3 | P4 | PP | P1 | P2 | PPP
Siemens Diagnostics | Advia 1650 |  | R3 | R4 | RR | R1 | R2 | RRR
Siemens Diagnostics | Advia 1800 |  | P3 | P4 | PP | P1 | P2 | PPP
Siemens Diagnostics | Advia 2120 |  | R3 | R4 | RR | R1 | R2 | RRR
Siemens Diagnostics | Advia 560 |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Siemens Diagnostics | BCS Coag ***Requires 4-5 Jumper*** |  | E3 | E4 | EE | E1 | E2 | EEE
Siemens Diagnostics | BCS XP |  | P3 | P4 | PP | P1 | P2 | PPP
Siemens Diagnostics | BNII |  | C3 | C4 | CC | C1 | C2 | CCC
Siemens Diagnostics | Centaur |  | E3 | E4 | EE | E1 | E2 | EEE
Siemens Diagnostics | Centaur CP |  | N3 | N4 | NN | N1 | N2 | NNN
Siemens Diagnostics | Centaur XP |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Siemens Diagnostics | Centaur XPT |  | Special 3 | Special 4 | Special 5 | Special 1 | Special 2 | Special 6
Siemens Diagnostics | Centralink | Yes | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Siemens Diagnostics | Chiron 1200 |  | N3 | N4 | NN | N1 | N2 | NNN
Siemens Diagnostics | Chiron 200 Series (LIS 1) |  | O3 | O4 | OO | O1 | O2 | OOO
|  |  | K3 | K4 | KK | K1 | K2 | KKK
Siemens Diagnostics | Chiron 348 |  | O3 | O4 | OO | O1 | O2 | OOO
Siemens Diagnostics | Chiron 800 Series |  | J3 | J4 | JJ | J1 | J2 | JJJ
Siemens Diagnostics | Chiron ACS: 180 |  | G3 | G4 | GG | G1 | G2 | GGG
Siemens Diagnostics | Cirrus ImmuliteCirrus Immulite (2000) |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Siemens Diagnostics | Clinitek 100 |  | G3 | G4 | GG | G1 | G2 | GGG
Siemens Diagnostics | Clinitek 200 |  | G3 | G4 | GG | G1 | G2 | GGG
Siemens Diagnostics | Clinitek 200+ |  | G3 | G4 | GG | G1 | G2 | GGG
Siemens Diagnostics | Clinitek 50 |  | Special 3 | Special 4 | Special 5 | Special 1 | Special 2 | Special 6
Siemens Diagnostics | Clinitek 500 |  | G3 | G4 | GG | G1 | G2 | GGG
|  |  | C3 | C4 | CC | C1 | C2 | CCC
Siemens Diagnostics | Clinitek Advantus | Yes | C3 | C4 | CC | C1 | C2 | CCC
|  |  | P3 | P4 | PP | P1 | P2 | PPP
Siemens Diagnostics | Clinitek Atlas |  | G3 | G4 | GG | G1 | G2 | GGG
Siemens Diagnostics | Clinitek AUWi | Yes
Siemens Diagnostics | Clinitek Novus |  | N3 | N4 | NN | N1 | N2 | NNN
Siemens Diagnostics | Clinitek Status (Max 10' Length)Non-molded adapters only |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | I3 | I4 | II | I1 | I2 | III
Siemens Diagnostics | Clinitek Status Connect | ONLY
Siemens Diagnostics | Coagulation System *REQUIRES 4-5 Jumper* |  | E3* | E4* | EE* | E1* | E2* | EEE*
Siemens Diagnostics | DCA Vantage |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | L3 | L4 | LL | L1 | L2 | LLL
Siemens Diagnostics | Dimension |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Siemens Diagnostics | Dimension EXL |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | P3 | P4 | PP | P1 | P2 | PPP
Siemens Diagnostics | Dimension RXL |  | E3 | E4 | EE | E1 | E2 | EEE
|  |  | P3 | P4 | PP | P1 | P2 | PPP
Siemens Diagnostics | Dimension Xpand |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Siemens Diagnostics | DimensionAR (ES,XL) |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Siemens Diagnostics | EasyLink |  | P3 | P4 | PP | P1 | P2 | PPP
Siemens Diagnostics | Immulite 1000 |  | N3 | N4 | NN | N1 | N2 | NNN
Siemens Diagnostics | Immulite 2000 |  | N3 | N4 | NN | N1 | N2 | NNN
Siemens Diagnostics | LabPro |  | P3 | P4 | PP | P1 | P2 | PPP
Siemens Diagnostics | Microscan Autoscan 4 |  | P3 | P4 | PP | P1 | P2 | PPP
Siemens Diagnostics | Microscan DMS (Walkaway) |  | P3 | P4 | PP | P1 | P2 | PPP
Siemens Diagnostics | PFA |  | A3 | A4 | AA | A1 | A2 | AAA
Siemens Diagnostics | RapidComm | Yes
Siemens Diagnostics | RapidLab 1200 |  | P3 | P4 | PP | P1 | P2 | PPP
Siemens Diagnostics | RapidPoint 400 series |  | N3 | N4 | NN | N1 | N2 | NNN
Siemens Diagnostics | RapidPoint 500 |  | N3 | N4 | NN | N1 | N2 | NNN
Siemens Diagnostics | Stratus CS |  | E3 | E4 | EE | E1 | E2 | EEE
Siemens Diagnostics | Stream Lab |  | G3 | G4 | GG | G1 | G2 | GGG
Siemens Diagnostics | Syngo (formerly known as Vista) | Yes
Siemens Diagnostics | VersaCell |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Siemens Diagnostics | Vista 1500 | Yes
Siemens Diagnostics | Viva |  | C3 | C4 | CC | C1 | C2 | CCC
|  |  | G3 | G4 | GG | G1 | G2 | GGG
|  |  | N3 | N4 | NN | N1 | N2 | NNN
Sigma | AMAX |  | J3 | J4 | JJ | J1 | J2 | JJJ
Sigma | AMAX CS-190 |  | J3 | J4 | JJ | J1 | J2 | JJJ
Sigma | AMAX CS-400 |  | J3 | J4 | JJ | J1 | J2 | JJJ
Sigma | AMAX-M |  | J3 | J4 | JJ | J1 | J2 | JJJ
Stratec | Euroimmun |  | A3 | A4 | AA | A1 | A2 | AAA
|  |  | E3 | E4 | EE | E1 | E2 | EEE
Stratec | Tango |  | N3 | N4 | NN | N1 | N2 | NNN
Streck | ESR |  | M3 | M4 | MM | M1 | M2 | MMM
|  |  | I3 | I4 | II | I1 | I2 | III
Streck | Mini-cube |  | J3 N3 | J4 N4 | JJ NN | J1 N1 | J2 N2 | JJJ NNN
Sysmex Corporation | CA-1000 |  | G3 | G4 | GG | G1 | G2 | GGG
Sysmex Corporation | CA-1500 |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | CA-600 Series |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | CA-500 Series |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | L3 | L4 | LL | L1 | L2 | LLL
Sysmex Corporation | CA-7000 |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | CS-2500 ASTM |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | E-1 |  | L3 | L4 | LL | L1 | L2 | LLL
Sysmex Corporation | K-1 |  | L3 | L4 | LL | L1 | L2 | LLL
Sysmex Corporation | K-1000 |  | C3 | C4 | CC | C1 | C2 | CCC
Sysmex Corporation | KX-21 |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | L3 | L4 | LL | L1 | L2 | LLL
Sysmex Corporation | LASC | Yes
Sysmex Corporation | Molis (AUWi) | ONLY
Sysmex Corporation | NE Series |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | PocH-100i |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | SE-9000 |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | SE-9500R |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | SF-3000 |  | L3 | L4 | LL | L1 | L2 | LLL
Sysmex Corporation | SP-10 |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | SP-100 |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | SP-1000i |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | UF50 |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | UF100 |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | UF500 |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | UF1000 |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | UF-AlphaN |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | XE2100 Alpha, LASC | Yes | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | XE2100 IPU (Stand-alone) | Yes | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | XE5000 | Yes | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | XED |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | XT1800i | Yes | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | XT2000i |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | XT4000i |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | XS Series (1000i) |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | XN Series |  | P3 | P4 | PP | P1 | P2 | PPP
Sysmex Corporation | XP Series |  | P3 | P4 | PP | P1 | P2 | PPP
Thermo Scientific | Phadia 250 |  | P3 | P4 | PP | P1 | P2 | PPP
Thermo Scientific | Phadia ImmunoCAP 100 |  | P3 | P4 | PP | P1 | P2 | PPP
Therm (Trek) | Sensititre/SWIN |  | N3 | N4 | NN | N1 | N2 | NNN
Tosoh Medics | A1C 2.2 Plus |  | C3 | C4 | CC | C1 | C2 | CCC
Tosoh Medics | AIA Series |  | P3 | P4 | PP | P1 | P2 | PPP
Tosoh Medics | AIA-600II |  | L3 | L4 | LL | L1 | L2 | LLL
Tosoh Medics | G7 |  | P3 | P4 | PP | P1 | P2 | PPP
Tosoh Medics | G8 |  | P3 | P4 | PP | P1 | P2 | PPP
TREK Diagnostics | VersaTREK |  | N3 | N4 | NN | N1 | N2 | NNN
|  |  | J3 | J4 | JJ | J1 | J2 | JJJ
|  |  | F3 | F4 | FF | F1 | F2 | FFF
|  |  | B3 | B4 | BB | B1 | B2 | BBB
Trinity Biotech | Amax Destiny |  | N3 | N4 | NN | N1 | N2 | NNN
Trinity Biotech | Premier Hb9210 |  | P3 | P4 | PP | P1 | P2 | PPP
|  |  | O3 | O4 | OO | O1 | O2 | OOO
Trinity Biotech | Ultra Variant 2 |  | P3 | P4 | PP | P1 | P2 | PPP
Vital Diagnostics | ATAC 8000 | ONLY
Vital Diagnostics | Excyte 10 |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ
Vital Diagnostics | Excyte 20 |  | N3 | N4 | NN | N1 | N2 | NNN
Vital Diagnostics | Excyte M |  | Q3 | Q4 | QQ | Q1 | Q2 | QQQ